Extra Items - V04

# Extra Items

|  |  |  |  |
| --- | --- | --- | --- |
| Description | Quantity | Rate | Amount |
|  |  |  | EXTRA ITEM SLIP |
| Name of Work :- |  | Electric Repair and MTC work at Govt. Ambedkar hostel Ambamata, Govardhanvilas, Udaipur |  |
| Name of Contractor or supplier : |  | M/s. Anurudh Developers Udaipur |  |
| Reference to work order or Agreement : |  | 1179 Dt. 09-01-2025 |  |
| S.No. | Ref. BSR No. | Particulars | Qty. |
| E-01 |  | Minimum lumen output 2500 Im Post top Luminarie | 2 |
| E-02 |  | 6 A 3/5 pin shuttered socket | 4 |
| E-03 |  | 6/16 A shuttered socket | 5 |
| E-04 |  | Providing & Fixing of modular type lockable feature socket duly made out of unbreakable and fire retardant vergin poly carbonate with brass terminals and captive screws & silver alloy contact tip with IP-20 rating, including all as per pre approved by Engineer in charge, making connections, testing etc. as required. For additional technical parameters of product / work refer Annexure 'A' attached with this BSR | 5 |
| E-05 |  | 6 A 3/5 pin shuttered socket | 4 |
| E-06 |  | 6/16 A shuttered socket | 5 |
|  |  | Total |  |
|  |  | Add Tender Premium | % |
|  |  | Grand Total |  |